## Phase 1 - East-Old Sections
Linn Grove Cemetery
Bid Items
2022-11-10
| Bid Item |  | Quantity | Unit Price
| Mobilization, Etc. | L.S. | 1 |  | 0
| Irrigation Demolition | L.S. | 1 |  | 0
| Install Irrigation Controller (Controller "A") | L.S. | 1 |  | 0
| Install Master Valve Assembly (8") | EA. | 1 |  | 0
| Install Flow Sensor Assembly (8") | EA. | 1 |  | 0
| Install Pressure Transducer Assembly | EA. | 1 |  | 0
| Install Mainline Pipe - BORE (HDPE 6") | L.F. | 240 |  | 0
| Install Mainline Pipe (HDPE 4") | L.F. | 80 |  | 0
| Install Mainline Pipe (HDPE 6") | L.F. | 1200 |  | 0
| Install Mainline Pipe (HDPE 8") | L.F. | 910 |  | 0
| Install Mainline Pipe (HDPE 10") | L.F. | 30 |  | 0
| Install Mainline Pipe (PVC 4") | L.F. | 100 |  | 0
| Install Mainline Pipe (PVC 6") | L.F. | 2220 |  | 0
| Install Mainline Pipe (PVC 8") | L.F. | 2470 |  | 0
| Install Mainline Pipe (PVC 12") | L.F. | 60 |  | 0
| Install Lateral Pipe (1") | L.F. | 4450 |  | 0
| Install Lateral Pipe (1.25") | L.F. | 2800 |  | 0
| Install Lateral Pipe (1.5") | L.F. | 5820 |  | 0
| Install Lateral Pipe (2") | L.F. | 10450 |  | 0
| Install Lateral Pipe (2.5") | L.F. | 11850 |  | 0
| Install Lateral Pipe (3") | L.F. | 8110 |  | 0
| Install Sleeve (PVC 2") | L.F. | 2000 |  | 0
| Install Sleeve (PVC 3") | L.F. | 110 |  | 0
| Install Sleeve (PVC 4") | L.F. | 100 |  | 0
| Install Sleeve (PVC 6") | L.F. | 225 |  | 0
| Install Irrigation Remote Control Valve Assembly (1") | EA. | 2 |  | 0
| Install Irrigation Remote Control Valve Assembly (1.5") | EA. | 15 |  | 0
| Install Irrigation Remote Control Valve Assembly (2") | EA. | 167 |  | 0
| Install Isolation Valve Assembly (6") | EA. | 10 |  | 0
| Install Isolation Valve Assembly (8") | EA. | 14 |  | 0
| Install Isolation Valve Assembly (12") | EA. | 1 |  | 0
| Install Air Vent Assembly (2") | EA. | 3 |  | 0
| Install Quick Coupling Valve Assembly | EA. | 6 |  | 0
| Install Sprinkler Head Assembly (Hunter I-80) | EA. | 313 |  | 0
| Install Sprinkler Head Assembly (Hunter I-25) | EA. | 263 |  | 0
| Install Sprinkler Head Assembly (Hunter Prospray 6") | EA. | 29 |  | 0
| Install Sprinkler Head Assembly (Hunter Prospray 12") | EA. | 6 |  | 0
| Install Drip Remote Control Valve Assembly (1") | EA. | 1 |  | 0
| Install Inline Drip Header Pipe (1") | L.F. | 50 |  | 0
| Install Inline Drip Tubing | L.F. | 250 |  | 0
| Install Two-Wire (2-Wire) | L.F. | 9500 |  | 0
| Bid Alternate 1 - 1" Conduit and Sweep Els for Two-Wire Cable | L.F. | 7800 |  | 0
| Bid Alternate 2 - Spears Evertuff Swing Joints for I-20 & I-25 Sprinklers | EA. | 263 |  | 0
| Bid Alternate 3 - Temporary Mainline Connections | EA. | 5 |  | 0

## Phase 2 - West & North
Linn Grove Cemetery
Bid Items
2022-11-10
| Bid Item |  | Quantity | Unit Price
| Mobilization, Etc. | L.S. | 1 |  | 0
| Irrigation Demolition | L.S. | 1 |  | 0
| Install Irrigation Controllers and Flowstation | L.S. | 1 |  | 0
| Install Master Valve Assembly (3") | EA. | 1 |  | 0
| Install Master Valve Assembly (4") | EA. | 1 |  | 0
| Install Flow Sensor Assembly (3") | EA. | 1 |  | 0
| Install Flow Sensor Assembly (4") | EA. | 1 |  | 0
| Install Pressure Transducer Assembly | EA. | 2 |  | 0
| Install Mainline Pipe - BORE (HDPE 6") | L.F. | 185 |  | 0
| Install Mainline Pipe (HDPE 4") | L.F. | 225 |  | 0
| Install Mainline Pipe (HDPE 6") | L.F. | 425 |  | 0
| Install Mainline Pipe (HDPE 8") | L.F. | 50 |  | 0
| Install Mainline Pipe (PVC 4") | L.F. | 4280 |  | 0
| Install Mainline Pipe (PVC 6") | L.F. | 2160 |  | 0
| Install Mainline Pipe (PVC 8") | L.F. | 970 |  | 0
| Install Lateral Pipe (1") | L.F. | 5970 |  | 0
| Install Lateral Pipe (1.25") | L.F. | 5330 |  | 0
| Install Lateral Pipe (1.5") | L.F. | 5570 |  | 0
| Install Lateral Pipe (2") | L.F. | 8580 |  | 0
| Install Lateral Pipe (2.5") | L.F. | 8730 |  | 0
| Install Lateral Pipe (3") | L.F. | 7070 |  | 0
| Install Sleeve - BORE (HDPE 2") | L.F. | 150 |  | 0
| Install Sleeve (PVC 2") | L.F. | 870 |  | 0
| Install Sleeve (PVC 3") | L.F. | 50 |  | 0
| Install Sleeve (PVC 4") | L.F. | 10 |  | 0
| Install Sleeve (PVC 6") | L.F. | 150 |  | 0
| Install Irrigation Remote Control Valve Assembly (1") | EA. | 6 |  | 0
| Install Irrigation Remote Control Valve Assembly (1.5") | EA. | 13 |  | 0
| Install Irrigation Remote Control Valve Assembly (2") | EA. | 140 |  | 0
| Install Isolation Valve Assembly (4") | EA. | 9 |  | 0
| Install Isolation Valve Assembly (6") | EA. | 12 |  | 0
| Install Isolation Valve Assembly (8") | EA. | 4 |  | 0
| Install Air Vent Assembly (2") | EA. | 3 |  | 0
| Install Quick Coupling Valve Assembly | EA. | 2 |  | 0
| Install Sprinkler Head Assembly (Hunter I-80) | EA. | 253 |  | 0
| Install Sprinkler Head Assembly (Hunter I-25) | EA. | 315 |  | 0
| Install Sprinkler Head Assembly (Hunter I-20) | EA. | 35 |  | 0
| Install Sprinkler Head Assembly (Hunter Prospray 6") | EA. | 64 |  | 0
| Install Sprinkler Head Assembly (Hunter Prospray 12") | EA. | 56 |  | 0
| Install Drip Remote Control Valve Assembly (1") | EA. | 1 |  | 0
| Install Inline Drip Header Pipe (1") | L.F. | 85 |  | 0
| Install Inline Drip Tubing | L.F. | 100 |  | 0
| Install Two-Wire (2-Wire) | L.F. | 10120 |  | 0
| Bid Alternate 1 - 1" Conduit and Sweep Els for Two-Wire Cable | L.F. | 8500 |  | 0
| Bid Alternate 2 - Spears Evertuff Swing Joints for I-20 & I-25 Sprinklers | EA. | 350 |  | 0