BASELINE IRRIGATION SPECIFICATIONS

TABLE OF CONTENTS

SECTION 02810-IRRIGATION

PART 1 GENERAL

1.01	SCOPE	2

1.02	WORK NOT INCLUDED	2

1.03	SUBMITTALS	2

1.04	RULES AND REGULATIONS	3

1.05	QUALITY ASSURANCE	4

1.06	TESTING	4

1.07	CONSTRUCTION REVIEW	6

1.08	COORDINATION AND SCHEDULING	6

1.09	GUARANTEE/WARRANTY AND REPLACEMENT	6

# PART 2 MATERIALS

2.01	QUALITY	7

2.02	SUBSTITUTIONS	7

2.03	SLEEVING	7

2.04	PIPE AND FITTINGS	7

2.05	MAINLINE COMPONENTS	9

2.06	SPRINKLER IRRIGATION COMPONENTS	9

2.07	DRIP IRRIGATION COMPONENTS	9

2.08	CONTROL SYSTEM COMPONENTS	10

2.09	OTHER COMPONENTS	11

# PART 3 EXECUTION

3.01	INSPECTIONS AND REVIEWS	11

3.02	LAYOUT OF WORK	12

3.03	EXCAVATION, TRENCHING, AND BACKFILLING	12

3.04	SLEEVING AND BORING	13

3.05	ASSEMBLING PIPE AND FITTINGS	13

3.06	INSTALLATION OF MAINLINE COMPONENTS	14

3.07	INSTALLATION OF SPRINKLER IRRIGATION COMPONENTS	14

3.08	INSTALLATION OF DRIP IRRIGATION COMPONENTS	15

3.09	INSTALLATION OF CONTROL SYSTEM COMPONENTS	16

3.10	INSTALLATION OF OTHER COMPONENTS	17

3.11	PROJECT RECORD (AS-BUILT) DRAWINGS	17

3.12	WINTERIZATION AND SPRING START-UP	18

3.13	MAINTENANCE	18

3.14	CLEANUP	18

# PART 4 SUPPLEMENTAL BASELINE SPECIFICATIONS

DIVISION 2-SITE WORK

SECTION 02810 - IRRIGATION

PART 1: GENERAL

  - SCOPE:

Furnish all labor, materials, supplies, equipment, tools, and transportation, and perform all operations in connection with and reasonably incidental to the complete installation of the irrigation system, and guarantee/warranty as shown on the drawings, the installation details, and as specified herein.  Items of work specifically included are:

I.	Procurement of all applicable licenses, permits, and fees.

II.	Coordination of Utility Locates ("Utility Notification Center").

III.	Connection of electrical power supply to the irrigation control system.

IV.	Sleeving for irrigation pipe and wire.

V.	Preparation of Record Drawings.

VI.	Spring start-up and winterization.

VII.	Maintenance period.

1.02	WORK NOT INCLUDED:

Items of work specifically excluded or covered under other sections are:

I.	Provision of electrical power supply to the irrigation control system.

II.	Provision for water to the site (water meter).

1.03	SUBMITTALS:

I.	Deliver four (4) copies of all submittals to the Owner's Representative within 10 working days from the date of Notice to Proceed.  Provide information in a 3-ring binder with table of contents and index sheet.  Provide sections that are indexed for different components and labeled with the specification section number and the name of the component.  Submittals must be made for all the components on the material list. Indicate which items are being supplied on the catalog cut sheets when multiple items are shown on one sheet.  Submittal package must be complete prior to being reviewed by the Owner's Representative.  Incomplete submittals will be returned without review.

- Materials List: Include sleeving, pipe, fittings, mainline components, sprinkler, drip irrigation components, control system components, shop drawings and all other components shown on the drawings and installation details or described herein. Components such as pipe sealant, wire, wire connectors, ID tags, etc. must be included.  Quantities of materials need not be included.

- Manufacturers' Data: Submit manufacturers' catalog cuts, specifications, and operating instructions for equipment shown on the materials list.

- Shop Drawings: Submit shop drawings called for in the installation details.  Show products required for proper installation, their relative locations, and critical dimensions.  Note modifications to the installation detail.

- The following items are required to receive Baselines’s installation verification and warranty verification:  Baseline’s Controller and Communications. Prior to final acceptance of the project, the contractor shall be responsible for contacting and coordinating installation verification for any and all of the aforementioned products required by and installed on this project.  Prior to starting work on this project, the contractor shall contact an authorized Baseline Distributer,  and conduct an on-site meeting with  the Baseline representative and a City representative to coordinate all required verification services in a timely manner, to include Radio Site Survey and equipment needs.  The contractor shall provide documentation of this meeting to the City of Greeley.  Prior to final acceptance of the work, the contractor shall provide proof of installation verification of all required equipment by the authorized Baseline representative to the City of Greeley.

1.04	RULES AND REGULATIONS:

I.	Work and materials shall be in accordance with the latest edition of the National Electric Code, the Uniform Plumbing Code as published by the Western Plumbing Officials Association, and applicable laws and regulations of the governing authorities.

- When the contract documents call for materials or construction of a better quality or larger size than required by the above-mentioned rules and regulations, provide the quality and size required by the contract documents.

- If quantities are provided either in these specifications or on the drawings, these quantities are provided for information only, it is the Contractor's responsibility to determine the actual quantities of all material, equipment, and supplies required by the project and to complete an independent estimate of quantities and wastage.

1.05	QUALITY ASSURANCE:

I.	Engage an experienced Installer who has completed irrigation work similar in material, design, and extent to that indicated for this project and with a record of successful irrigation installations.

Installer‘s Field Supervision:  Field supervision shall be on site, full time during installation.  Field supervisor shall have at least 5 years experience in 2 wire installation.

- 1.06	TESTING:

I.	Notify the Owner's Representative three days in advance of testing.

II.	Pipelines jointed with rubber gaskets or threaded connections may be subjected to a pressure test at any time after partial completion of backfill.  Pipelines jointed with solvent-welded PVC joints shall be allowed to cure at least 24 hours before testing.

- Subsections of mainline pipe may be tested independently, subject to the review of the Owner's Representative.

- Furnish clean, clear water, pumps, labor, fittings, and equipment necessary to conduct tests or retests. Pressure gauge resolution must be suitable for recording losses less than 5 psi.

- All costs, including travel expenses for site visits by the Project Manager, for any reinspection that may be required due to non-compliance with the Construction Documents shall be the sole responsibility of the Contractor.

- Hydrostatic Pressure Test (Solvent Weld Mainline Pipe):

      - Subject mainline pipe to a hydrostatic pressure equal to 140 PSI for two hours.  Test with mainline components installed.

B.	Backfill to prevent pipe from moving under pressure.  Expose couplings and fittings.

- Expose all remote control valves their riser pipe and service tee fittings.

D.	Purge air from mainline pipe before test.  Attach pressure gauge to mainline pipe in test section.

E.	Observe pressure loss on pressure gauge.  If pressure loss is greater than 5 PSI, identify reason for pressure loss.  Replace defective pipe, fitting, joint, valve, or appurtenance.  Repeat test until pressure loss is equal to or less than 5 PSI.

F.	Visually inspect irrigation pipe for leakage and replace defective pipe, fittings, joint, valve, or appurtenance.  Repeat test until pipe passes test.

G.	Cement or caulking to seal leaks is prohibited.

- Volumetric Leakage Test:

      - Backfill to prevent pipe from moving under pressure.  Expose couplings and fittings.

      - Purge air from pipeline before test.

      - Subject mainline pipe to 140 PSI for two hours.  Maintain constant pressure.

      - Provide all necessary pumps, bypass piping, storage tanks, meters, 3-inch test gauge, supply piping, and fittings in order to properly perform testing.

      - Testing pump must provide a continuous 140-PSI to the mainline.  Allowable deviation in test pressure is 5-PSI during test period.  Restore test pressure to 140-PSI at end of test.

      - Water added to mainline pipe must be measured volumetrically to nearest 0.10 gallons.

      - Use the following table to determine maximum allowable volume lost during test:

Leakage Allowable (Gallons per (100 Joints) / Hour)

| Pipe Size (INCHES) | Test Pressure (PSI) |
| --- | --- |
|  | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 |
| 2 ½” | 0.39 | 0.42 | 0.45 | 0.48 | 0.51 | 0.53 | 0.56 | 0.58 | 0.61 |
| 3” | 0.48 | 0.51 | 0.55 | 0.58 | 0.62 | 0.65 | 0.68 | 0.70 | 0.73 |
| 4” | 0.62 | 0.66 | 0.71 | 0.75 | 0.80 | 0.84 | 0.87 | 0.91 | 0.94 |
| 6” | 0.90 | 0.97 | 1.04 | 1.11 | 1.18 | 1.23 | 1.29 | 1.34 | 1.40 |

- Operational Test:

      - Activate each remote control valve in sequence from controller.  The Owner's Representative will visually observe operation, water application patterns, and leakage.

      - Replace defective remote control valve, solenoid, wiring, or appurtenance to correct operational deficiencies.

      - Replace, adjust, or move water emission devices to correct operational or coverage deficiencies.

      - Replace defective pipe, fitting, joint, valve, sprinkler, or appurtenance to correct leakage problems.  Cement or caulking to seal leaks is prohibited.

      - Repeat test(s) until each lateral passes all tests.  Repeat tests, replace components, and correct deficiencies at no additional cost to the Owner.

- Control System Acceptance Test:

      - Upon completion of construction, City of Greeley Parks Department Representatives will administer a System Acceptance Test.

      - Following construction completion and a Review by the Project Manager, an evaluation period will begin.  After 30 days of continuous service without major system problems, the system will be accepted and the guarantee/warranty period will begin.  If at any time during the 30-day evaluation period, a major system problem occurs, the source of the problem will be determined and corrected and the 30-day evaluation period will start again.  Equipment will not be accepted until such time as the System Acceptance Test is passed.

      - If successful completion of the System Acceptance Test is not attained within 90 days following commencement of the evaluation period, the Project Manager has the option to request replacement of equipment, terminate the order, or portions thereof, or continue with the System Acceptance Test.  These options will remain in effect until such time as a successful completion of the System Acceptance Test.

      - Final payment will be made after successful completion of the System Acceptance Test.

- Control System Grounding:

      - Test for proper grounding of control system per manufacturer's recommendations. Test results must meet or exceed manufacturer's guidelines for acceptance.

      - Replace defective wire, grounding rod, or appurtenances.  Repeat the test until the manufacturer's guidelines are met.

1.07	CONSTRUCTION REVIEW:

The purpose of on-site reviews by the Owner's Representative is to periodically observe the work in progress, the Contractor's interpretation of the construction documents, and to address questions with regard to the installation.

- Scheduled reviews such as those for irrigation system layout or testing must be scheduled with the Project Manager as required by these specifications.

- Impromptu reviews may occur at any time during the project.

- A review will occur at the completion of the irrigation system installation and Project Record Drawing submittal.

1.08	COORDINATION AND SCHEDULING:

I.	The irrigation construction schedule is to be provided at the Pre-Construction meeting depicting the dates the various stages of the project will start and when they will be completed.

1.09	GUARANTEE/WARRANTY AND REPLACEMENT:

The purpose of this guarantee/warranty is to insure that the Owner receives irrigation materials of prime quality, installed and maintained in a thorough and careful manner.

- For a period of one year from commencement of the formal maintenance period, guarantee/warranty irrigation materials, equipment, and workmanship against defects. Fill and repair depressions.  Restore landscape or structural features damaged by the settlement of irrigation trenches or excavations.  Repair damage to the premises caused by a defective item.  Make repairs within seven days of notification from the Owner's Representative.

- Contract documents govern replacements identically as with new work.  Make replacements at no additional cost to the contract price.

- Guarantee/warranty applies to originally installed materials and equipment and replacements made during the guarantee/warranty period.

PART 2: MATERIALS

2.01	QUALITY:

Use materials that are new and without flaws or defects of any type, and which are the best of their class and kind.

2.02	SUBSTITUTIONS:

I.	Alternative equipment must be approved by the Engineer prior to bidding.  The Contractor is responsible for making any changes to the design to accommodate alternative equipment.

- Pipe sizes referenced in the construction documents are minimum sizes, and may be increased at the option of the Contractor.

2.03	SLEEVING:

I.	Install a separate sleeve beneath paved areas to route each run of irrigation pipe or wiring bundle.

II.	Sleeving material beneath pedestrian pavements shall be PVC Class 200 pipe with solvent welded joints.

- Sleeving beneath drives and streets shall be PVC Class 200 pipe with solvent welded joints.

- Sleeving diameter: equal to twice that of the pipe or wiring bundle.

- All sleeving located under concrete, pavement or other hard surfacing shall be notched on both sides to mark the sleeve location.

2.04	PIPE AND FITTINGS:

I.	Mainline Pipe and Fittings:

- Use rigid, un-plasticized polyvinyl chloride (PVC) 1120, 1220 National Sanitation Foundation (NSF) approved pipe, extruded from material meeting the requirements of Cell Classification 12454-A or 12454-B, ASTM Standard D1784, with an integral belled end suitable for solvent welding.

- Use Class 200, SDR-21, rated at 200 PSI, conforming to the dimensions and tolerances established by ASTM Standard D2241. Use PVC pipe rated at higher pressures than Class 200 in the case of small nominal diameters that are not manufactured in Class 200.

- Use solvent weld pipe for mainline pipe with a nominal diameter less than 3-inches or where a pipe connection occurs in a sleeve.  Use Schedule 40, Type 1, PVC solvent weld fittings conforming to ASTM Standards D2466 and D1784.  Use primer approved by the pipe manufacturer.  Solvent cement to conform to ASTM Standard D2564.

II.	Lateral Pipe and Fittings:

- Use rigid, un-plasticized polyvinyl chloride (PVC) 1120, 1220 National Sanitation Foundation (NSF) approved pipe, extruded from material meeting the requirements of Cell Classification 12454-A or 12454-B.	 ASTM Standard D1784, with an integral belled end suitable for solvent welding.

- Use Class 200, SDR-21, rated at 200 PSI, conforming to the dimensions and tolerances established by ASTM Standard D2241.

- Use solvent weld pipe for lateral pipe.  Use Schedule 40, Type 1, PVC solvent weld fittings conforming to ASTM Standards D2466 and D1784 for PVC pipe. Use primer approved by the pipe manufacturer. Solvent cement to conform to ASTM Standard D2564, of a type approved by the pipe manufacturer.

III.	Specialized Pipe and Fittings:

- Low Density Polyethylene Hose:

Use pipe specifically intended for use as a flexible swing joint.

Inside diameter: 0.490_+0.010 inch.

Wall thickness: 0.100+0.010 inch.

Color: Black.

Use spiral barbed fittings supplied by the same manufacturer as the hose.

- Assemblies calling for flanged connections shall utilize stainless steel studs and nuts and rubber gaskets.

C.	Assemblies calling for threaded pipe connections shall utilize PVC Schedule 80 and 40 threaded fittings and Spears pre-manufactured swing-joint assemblies.  Use PVC Schedule 80 nipples.

- Joint sealant: Use non-hardening, nontoxic pipe thread sealant formulated for use on threaded connections and approved by the pipe fitting and valve manufacturers.  Where directed by valve manufacturers, use thread tape for threaded connections at valves instead of thread paste.

- Copper Pipe:  Use Type “K” rigid pipe conforming to ASTM Standard B88.  Use wrought copper of cast bronze fittings, soldered, flared mechanical, or treaded joint per installation details or local code.  Use a 95-percent tin and 5-percent antimony solder.

- Pressure Supply Lines (downstream of backflow prevention units) – HDPE, DR11.

IV.	Joint Restraint Harness:

- Use a joint restraint harnesses wherever joints are not positively restrained by flanged fittings, threaded fittings, and/or thrust blocks.

- Use a joint restraint harness with transition fittings between metal and PVC pipe, where weak trench banks do not allow the use of thrust blocks, or where extra support is required to retain a fitting or joint.

- Use bolts, nuts, retaining clamps, all-thread, or other joint restraint harness materials that are zinc plated or galvanized.

- Use on pipe greater than or equal to 3-inch diameter or any diameter rubber gasket pipe.

2.05	MAINLINE COMPONENTS:

I.	Flow Sensor Assembly:  As presented in the installation details.

      - Isolation Gate Valve Assembly:  As presented in the installation details.  Acceptable manufacturers are American AVK, Clow, Kennedy, Mueller, Matco, Nibco, or Waterous.

      - Quick Coupling Valve Assembly:  As presented in the installation details.

      - Air Vacuum Relief Valve Assembly: as presented in the details.  Provide a continuous action combination air vacuum relief valve with an operating pressure rating of 150 PSI.  Acceptable manufactures are Bermad, Crispin, Fresno, or Waterman.

2.06	SPRINKLER IRRIGATION COMPONENTS:

I.	Remote Control Valve (RCV) Assembly for Sprinkler Laterals:  as presented in the installation details.  Use wire connectors and waterproofing sealant to join control wires to solenoid valves.  Use standard Christy I.D. tags with hot-stamped black letters on a yellow background.  Install a separate valve box over a 3-inch depth of 3/4-inch gravel for each assembly.  Provide PRS-Dial pressure regulators for all spray nozzles when inlet pressure exceeds 15 psi of desired outlet pressure. Install 2-wire decoder on each control valve.

II.	Sprinkler Assembly:  As presented in the drawings and installation details.

III.	Sprinkler Pressure Test Kit:  Provide Rain Bird PHG assembly, and Rain Bird Pitot Tube (part no. 41017), for use in pressure adjustment for spray and rotors sprinklers.

2.07	DRIP IRRIGATION COMPONENTS:

- Remote Control Valve (RCV) /assembly fir Drip Laterals.

  - As presented in drawing and installation details.

- Inline Drip Tubing:

  - Tubing:  Use UV resistant polyethylene drip tubing with integral pressure compensating drip emitters.  Emitter spacing as noted in drawings and installation details.  Use emitters that are pressure compensating from 8 to 70 PSI.  Use tubing with O.D. of 0.660”, and I.D. of 0.560”.  Use tubing stakes or landscape fabric staples to hold above-ground pipe in place.

  - Blank Drip Tubing:  Use UV resistant polyethylene blank tubing for supply and exhaust manifolds with flows less than five (5) GPM, and start connections between manifolds and drip tubing.  Use PVC insert line fittings compatible with inline drip tubing.  Compression fittings will not be allowed.  Use blank tubing from same manufacture as inline drip tubing.

  - Flush Valve Assembly:  As presented in drawings and installation details.

2.08	CONTROL SYSTEM COMPONENTS:

A.	Automatic Controller (2-Wire) - Size and type shown on Drawings; mounted as

detailed.

- Single Station Decoders (2-Wire) - Size and type shown on Drawings;

mounted as detailed.

  - Install decoders and wire per manufacture recommendations and requirements.

  - Grounding for all decoders and 2-wire cable, to be per manufactures recommendations and requirements. Minimum one grounding assembly per every 600’ of wire and at all ends of the wire runs.

- Baseline Controller Assembly:  All incidental parts which are not specified herein and are necessary to complete the system shall be furnished and installed as though such parts were shown on plans or specified. All systems shall be in satisfactory operation at the time of completion. Contractor is responsible to meet with designated City of Greeley Parks Division staff as well as authorized Baseline Technical Services Staff to determine appropriate communication path from the below options BEFORE PACKAGE SYSTEM IS TO BE ORDERED. Contractor is also required to provide designated City of Greeley Parks Division Staff with a final Package System sales order from an authorized Baseline dealer for approval BEFORE ordering of system occurs. (refer to supplemental Baseline Specification section).

- Lightning protection: Provide one 4" x 96" x 0.0625" ground plate, one 5/8"x10 foot copper clad UL listed grounding rod, 30 feet of #6 AWG bare copper grounding wire, and one CADWELD connector, and two 6-inch round valve boxes at each satellite controller group. Contractor responsible for adding to the grounding path until test measures 10 ohms or less.

- Wire markers: Pre-numbered or labeled with indelible nonfading ink, made of permanent, nonfading material.

- Power Wire:

        - Electric wire from the power source to satellite control unit shall be solid or stranded copper, Type UF single conductor cable or multi-conductor with ground cable, UL approved for direct underground burial.  Power wires shall be black, white, and green in color.  The Contractor is responsible for verifying that the power wire sizes are compatible and adequate for the control system being used.

        - Splices: Use 3M 82-A series connectors.

        - Conduit: PVC Schedule 40.

        - Warning tape: Inert plastic film highly resistant to alkalis, acids, or other destructive chemical components likely to be encountered in soils.  Three inches wide, colored yellow, and imprinted with “CAUTION: BURIED ELECTRIC LINE BELOW”

- Control Wire:

  - Low Voltage:

      - Electrical Control Wire  - UFUL approved No. 12/12 (2-wire Paige #170116RB or as per manufactures requirements) direct burial copper wire to operate system as designed.

- If multiple controllers are utilized, refer to wire routing plan for

individual wire runs.

- Control Wire connections and splices shall be made with

3M DBRy-6 direct bury splice.

- Loop five (5) feet minimum of 2-wire cable into all valve boxes.

- If multiple controllers are utilized, each controller shall have it’s

own 2-wire cable run, controllers cannot be connected with

same 2-wire run.

  - Warning tape:  Insert plastic film highly resistant to alkalis, acids, or other destructive chemical components likely to be encountered in soils.  Three inches wide, colored yellow, and imprinted with "CAUTION: BURIED ELECTRIC LINE BELOW."

2.09	OTHER COMPONENTS SUPPLIED BY CONTRACTOR:

I.	Tools and Spare Parts:  Provide operating keys, servicing tools, spare parts and other items indicated in the General Notes of the drawings.

II.	Other Materials:  Provide other materials or equipment shown on the drawings or installation details that are part of the irrigation system, even though such items may not have been referenced in these specifications.

III.

PART 3: EXECUTION

3.01	INSPECTIONS AND REVIEWS:

I.	Site Inspections:

- Verify construction site conditions and note irregularities affecting work of this section.  Report irregularities to the Owner's Representative prior to beginning work.

- Beginning work of this section implies acceptance of existing conditions.

      - Utility Locates ("Utility Notification Center of Colorado"):

A.	Arrange for and coordinate with local authorities the location of all underground utilities.

B.	Repair any underground utilities damaged during construction.  Make repairs at no additional cost to the contract price.

- Irrigation System Layout Review: Irrigation system layout review will occur after the staking has been completed.  Notify the Owner's Representative one week in advance of review.  Modifications will be identified by the Owner's Representative at this review.

3.02	LAYOUT OF WORK:

I.	Stake out the irrigation system. Items staked include: back flow device, sprinklers, mainline and lateral pipe, control valves, quick coupling valves, controller, and isolation valves.

      - Install all mainline pipe and mainline components inside of project property lines.

3.03	EXCAVATION, TRENCHING, AND BACKFILLING:

I.	Excavate to permit the pipes to be laid at the intended elevations and to permit work space for installing connections and fittings.

      - Minimum cover (distance from top of pipe or control wire to finish grade):

        - 24-inches over mainline pipe and over electrical conduit.

B.	28-inches over control wire.

C.	18-inches over lateral pipe to sprinklers.

      - Maintain at least 15-feet clearance from the centerline of any tree.

      - PVC lateral pipes may be pulled into the soil utilizing a vibratory plow device specifically manufactured for pipe pulling.  Minimum burial depths equal minimum cover listed above.

      - Backfill only after lines have been reviewed and tested.

      - Excavated material is generally satisfactory for backfill.  Backfill shall be free from rubbish, vegetable matter, and stones larger than 2-inches in maximum dimension. Remove material not suitable for backfill. Backfill placed next to pipe shall be free of sharp objects that may damage the pipe.

      - Backfill unsleeved pipe in either of the following manners:

- Backfill and puddle the lower half of the trench. Allow to dry 24 hours.  Backfill the remainder of the trench in 6-inch layers.  Compact to density of surrounding soil.

- Backfill the trench by depositing the backfill material equally on both sides of the pipe in 6-inch layers and compacting to the density of surrounding soil.

      - Enclose pipe and wiring beneath roadways, walks, curbs, etc., in sleeves.  Minimum compaction of backfill for sleeves shall be 95% Standard Proctor Density, ASTM D698-78. Use of water for compaction around sleeves, "puddling", will not be permitted.

XI.	Dress backfilled areas to original grade.  Incorporate excess backfill into existing site grades.

- Where utilities conflict with irrigation trenching and pipe work, contact the Owner's Representative for trench depth adjustments.

3.04	SLEEVING AND BORING:

I.	Install sleeving at a depth that permits the encased pipe or wiring to remain at the specified burial depth.

      - Extend sleeve ends six inches beyond the edge of the paved surface.  Cover pipe ends and mark with stakes.

      - Bore for sleeves under obstructions that cannot be removed.  Employ equipment and methods designed for horizontal boring. Hand excavating under sidewalks and hardscapes will not be allowed.

3.05	ASSEMBLING PIPE AND FITTINGS:

I.	General:

A.	Keep pipe free from dirt and pipe scale Cut pipe ends square and debur.  Clean pipe ends.

B.	Keep ends of assembled pipe capped.  Remove caps only when necessary to continue assembly.

- Trenches may be curved to change direction or avoid obstructions within the limits of the curvature of the pipe.  Minimum radius of curvature and offset will be based on manufactures recommendations.  Installer will be required to provide chart of allowable deflection with pipe submittals.  No deflection will be allowed at a pipe joint.

      - Mainline Pipe and Fittings:

- Use only strap-type friction wrenches for threaded plastic pipe.

- PVC Rubber-Gasket Pipe:

      - Use pipe lubricant.  Join pipe in the manner recommended by manufacturer and in accordance with accepted industry practices.

      - Ductile iron fittings shall not be struck with a metallic tool.  Cushion blows with a wood block or similar shock absorber.

C.	PVC Solvent Weld Pipe:

        - Use primer and solvent cement.  Join pipe in a manner recommended by the manufacturer and in accordance with accepted industry practices.

        - Cure for 30 minutes before handling and 24 hours before allowing water in pipe.

        - Snake pipe from side to side within the trench.

- Fittings:  The use of cross type fittings is not permitted.  Do not strike ductile iron fittings with metallic tools.  Cushion blows with wood block or similar shock absorber

      - Lateral Pipe and Fittings:

A.	Use only strap-type friction wrenches for threaded plastic pipe.

B.	PVC Solvent Weld Pipe:

        - Use primer and solvent cement.  Join pipe in the manner recommended by the manufacturer and in accordance with accepted industry practices.

        - Cure for 30 minutes before handling and 24 hours before allowing water in the pipe.

        - Snake pipe from side to side within the trench.

- Fittings:  The use of cross type fittings is not permitted.

IV.	Specialized Pipe and Fittings:

- Low Density Polyethylene Hose:  Install per manufacturer's recommendations.

- Flanged connections: Install stainless steel studs and nuts and rubber gaskets per manufacturer's recommendations.

- PVC Threaded Connections:

- Use only factory-formed threads.  Field-cut threads are not permitted.

- Use only non-hardening, nontoxic thread sealant.

- When connection is plastic-to-metal, the plastic component shall have male threads and the metal component shall have female threads.

- Make metal-to-metal, threaded connections with non-hardening, nontoxic pipe sealant applied to the male threads only.

E.	Copper Pipe:

1.	Use flux and solder.  Join pipe in manner recommended by manufacturer and in accordance with local codes and accepted industry practices.

2.	Solder so that continuous bead shows around the joint circumference.

3.06	INSTALLATION OF MAINLINE COMPONENTS:

I.	Master Valve Assembly:  Install where indicated on the drawings.

      - Flow Sensor Assembly:  Install where indicated on the drawings according to manufactures installation guidelines.

      - Isolation Gate Valve Assembly:

- Install where indicated on the drawings.

- Locate at least 12-inches from and align with adjacent walls or edges of paved areas.

      - Quick Coupling Valve Assembly:  Install where indicated on the drawings.

3.07	INSTALLATION OF SPRINKLER IRRIGATION COMPONENTS:

I.	Remote Control Valve (RCV) Assembly for Sprinkler Laterals:

- Flush mainline before installation of RCV assembly.

- Install where indicated on the drawings.  Connect control wires to remote control valve wires using 3M DBY-6 or DBR-6 waterproof connectors.  Install connectors per the manufacturer's recommendations.

C.	Install only one RCV to a valve box.  Locate valve box at least 12-inches from and align with nearby walls or edges of paved areas.  Group RCV assemblies together where practical. Arrange grouped valve boxes in rectangular patterns.  Allow at least 12-inches between valve boxes.

- Attach ID tag with controller station number to control wiring.

- Install 2-wire decoder, per manufacture standards and recommendations.

- Brand valve box lid with appropriate station number for each remote control valve. Branding device must create letters a minimum of 3-inches in height and 0.2-inches deep in lid.

      - Sprinkler Assembly:

- Flush lateral pipe before installing sprinkler assembly.

- Install per the installation details at locations shown on the drawings.

- Locate rotary sprinklers 6-inches from adjacent walls, fences, or edges of paved areas.

- Locate spray sprinklers 3-inches from adjacent walls, fences, or edges of paved areas.

- Install sprinklers perpendicular to the finish grade.

- Supply appropriate nozzle or adjust arc of coverage of each sprinkler for best performance.

- Adjust the radius of throw of each sprinkler for best performance.

      - Sprinkler Pressure Test Kit (if applicable):

- Use a Pitot tube and pressure gauge at the worst-case rotor sprinkler assembly, from the respective remote control valve.  Adjust PRS-Dial at each rotor remote control valve, to provide the design operating pressure at the worst-case rotor sprinkler head.  Typically the worst-case sprinkler is the sprinkler furthest from the remote control valve.  Complete pressure adjustment for every rotor remote control valve.

- Using pressure gauge and necessary fittings, place pressure gauge on worst-case spray sprinkler, from the respective remote control valve.  Adjust PRS-Dial at each spray remote control valve to provide an operating pressure of 30 PSI at the worst-case spray sprinkler head.  Typically the worst-case sprinkler is the sprinkler furthest from the remote control valve. Complete pressure adjustment for each spray remote control valve.

- Turn over Pitot tube and pressure gauge to the City of Greeley at completion of construction.

3.08	INSTALLATION OF DRIP IRRIGATION COMPONENTS:

- Remote Control Valve (RCV) Assembly for Drip Laterals:

  - Flush mainline pipe before installing RCV assembly.

  - Locate as shown on drawings.  Connect control wires to remote control valve wires using wire connectors and waterproof sealant.  Provide 3M DBRY-6 or DBR-6 connectors and sealant per manufacturer’s recommendations.

  - Install only one RCV per valve box.  Locate at least 12-inches from and align with nearby walls or edges of paved areas.  Group RCV assemblies together where practical.  Align grouped valve boxes in uniform patterns.  Allow at least 12-inches between valve boxes.  Brand controller letter and station number on valve box lid in 2-inch high letters.

  - Arrange grouped valve boxes in rectangular patterns.

- Inline Drip Tubing:  Install inline drip tubing components in strict accordance with tubing manufacturer’s details, guidelines, and recommendations.

- Flush Valve Assembly:  Provide at end of each dripper line grid as show and directed on drawings and installation details.  Install at least 12-inches from and align with adjacent walls or edges of paved areas.  Brand “FV” on valve box lid in 2-inch high letters.

3.09	INSTALLATION OF CONTROL SYSTEM COMPONENTS:

I.	Satellite Controller Assemblies:

- The location of the Controller Assemblies as depicted on the drawings is approximate; the Project Manager will determine the exact site location during sprinkler layout review.

- Assemble controller assembly, sensors, and appurtenance controller enclosure per authorized manufacturer representative recommendation and shop drawings.  Provide pre-fabrication and testing of controller assembly by authorized Baseline distributor representative prior to installation in field.  Provide installation observation and wire connections in field by manufacturer’s personnel or trained distributor personnel.

- Provide combination switch/GFCI outlet in accordance with local codes inside satellite controller assembly enclosure.

- Provide electrical service connection for Controller Assemblies under direction and observation of manufactures’ personnel or trained distributor personnel.  Utilize existing electrical source.  Provide primary surge protection arrestors on incoming power lines in accordance with control system manufacturer recommendations.

- Lightning protection:  Drive grounding rod into soil its full length.  Space rod and grounding plate according to manufactures installation guidelines regarding spacing from controller in order to achieve 10 ohms or less upon testing.  Connect #6 AWG copper grounding wire to rod from plate using CADWELD connection.  Install 6-inch round valve box over each CADWELD connection and grounding plate connection.  Connection of grounding wire to the satellite must be per satellite manufacturer or distributor's recommendations.

- Attach wire markers to the ends of control wires inside the controller unit housing. Label wires with the identification number (see drawings) of the remote control valve to which the control wire is connected.

- Connect control wires to the corresponding controller terminal.

      - Power Wire:

    - Install with a minimum number of field splices.  If a power wire must be spliced, make splice with recommended connector, installed per manufacturer's recommendations. Locate all splices in a separate 12-inch standard valve box.  Coil 2 feet of wire in valve box.

    - All power wire shall be laid in trenches.  The use of a vibratory plow is not permitted.

C.	Green wire shall be used as the ground wire from power source to all satellites.

D.	Carefully backfill around power wire to avoid damage to wire insulation or wire connectors.

- Unless noted on plans, install wire parallel with mainline pipe.  Install wire a minimum of 2-inches below top of PVC mainline pipe.

- Encase wire not installed with PVC mainline pipe in electrical conduit with a continuous run of warning tape placed in the backfill, 6-inches above the wiring.

III.	2- Wire cable:

- Install with mainline pipe wrapping with tape spaced at 10-foot intervals.

B.	Provide a 24-inch excess length of 2-wire cable in an 8-inch diameter loop at each 90-degree change of direction, at both ends of sleeves, and at 100-foot intervals along continuous runs of wiring.  Do not tie wiring loop.  Coil 5’ length of 2-wire cable within each remote control valve box.

- If a 2-wire cable must be spliced, make splice with wire connectors and waterproof sealant, installed per the manufacturer's instructions.  Locate splice in a valve box that contains an irrigation valve assembly, or in a separate 12-inch standard valve box.  Use same procedure for connection to valves as for in-line splices.

- Unless noted on plans, install wire parallel with and below PVC mainline pipe.

- Protect wire not installed with PVC mainline pipe with a continuous run of warning tape placed in the backfill six inches above the wiring.

3.10	INSTALLATION OF OTHER COMPONENTS:

I.	Tools and Spare Parts:  Prior to the Review at completion of construction, supply to the Owner operating keys, servicing tools, spare parts, and any other items indicated in the General Notes on the drawings.

      - Other Materials:  Install other materials or equipment shown on the drawings or installation details that are part of the irrigation system, even though such items may not have been referenced in these specifications.

3.11	PROJECT RECORD DRAWINGS:

I.	The Contractor is responsible for documenting changes to the design.  Maintain on-site and separate from documents used for construction, one complete set of contract documents as Project Documents. Keep documents current.  Do not permanently cover work until as-built information is recorded.

II.	Record pipe and wiring network alterations.  Record work that is installed differently than shown on the construction drawings.  Record accurate reference dimensions, measured from at least two permanent reference points, of each irrigation system valve, each backflow prevention device, each controller or control unit, each sleeve end, each stub-out for future pipe or wiring connections, and other irrigation components enclosed within a valve box.

      - Prior to construction completion, obtain from the Owner's Representative an AutoCAD data file for this project.  Using CAD, duplicate information contained on the project drawings maintained on site.  Label each sheet "Record Drawing".

Data delivered should conform to the current coordinate system used by the City of Greeley which is HARN NAD83 Stateplane US Survey Feet Northern Colorado projection.  Vertical values should be captured in NAVD 88.  Reference control point data can be obtained via the City of Greeley’s web site within the GIS page or by contacting the GIS division at 970-350-9300.

      - Turn over the "Record Drawings" to the Owner's Representative.  Completion of the Record Drawings will be a prerequisite for the Review at the completion of the irrigation system installation.

      - Installer will be required to turn over a list of valves and corresponding decoder numbers installed in field.

3.12	WINTERIZATION AND SPRING START-UP:

I.	Winterize the irrigation system in the fall after the installation, and start-up the irrigation system the following spring.  Repair any damage caused in improper winterization at no additional cost to the Owner.  Coordinate the winterization and start-up with the landscape maintenance personnel.

3.13	MAINTENANCE:

I.	Upon completion of construction and Review by the Owner's Representative, maintain irrigation system for a duration of 30 calendar days.  Make periodic examinations and adjustments to irrigation system components so as to achieve the most desirable application of water.

II.	Following completion of the Contractor's maintenance period, the Owner will be responsible for maintaining the system in working order during the remainder of the guarantee/warranty period, for performing necessary minor maintenance, for trimming around sprinklers, for protecting against vandalism, and for preventing damage after the landscape maintenance operation.

3.14	CLEANUP:

I.	Upon completion of work, remove from the site all machinery, tools, excess materials, and rubbish.

END OF SECTION

# Comments

What about system grounding?